TENDERS/QUOTATIONS:

(Ref. : SKU/UGC-9/ISRO-GBP/AT-CTM/Phy./2020, dated 19.06.2020)

06-01-2022: Sealed Quotations invited from reputed firms for purchase of the following items on or before 25th   January 2022 in a sealed cover by Registered post/Speed post

| S.No. | Description | Purity Ration |
| --- | --- | --- |
| CALIBRATION GASES |  |  |
| 1. | Pure Nitrogen Pure Nitrogen gas in new 47 ltr W/C carbon steel cylinder | 99.999% |
|  | Hydrogen of 99.999% purity (7 cums) |  |
|  | Helium of 99.999% purity (7 cums) |  |
|  | CO2 (Carbon Di Oxide) (31 kgs) |  |
| 2. | Calibration gas mixture in new 10 Ltr W/C Aluminum cylinder |  |
|  | - Sulphur Dioxide | 60.000000 PPM |
|  | - NOx | 83.000000 PPM |
|  | - Carbon Monoxide | 98.000000 PPM |
|  | - NO - 10 PPM & Balance N2 |  |
|  | - SO2 – 10 PPM & Balance N2 |  |
|  | - Methane – 10 PPM /Propane – 1 PPM & Balance N2 |  |
| ANALYZERS SPARE PARTS |  |  |
| 3. | Spares for Ozone analyser |  |
|  | DISSOLVED OXYGEN UNIT |  |
|  | Pump KIT |  |
| 4. | Spares for NOx analyser |  |
|  | UV Lamp Unit |  |
|  | O-Ring |  |
|  | DO Unit |  |
|  | Pump kit |  |
| 5. | Spares for CO analyser |  |
|  | O-Ring |  |
|  | Pump Diaphragm |  |
| 6. | Spares for CH4/NMHC analyser |  |
|  | O-Ring |  |
| 7. | Filter elements for O3, SO2, CO, NO/ NO2/ NOX and CH4/NMHC analyzers (PA-10L, 54mm in diameter x 0.5 (t) mm 24 pieces per package) |  |

- The quotations should be  in the favour of  “The Registrar, S.K. University, Anantapur- 515 003  and  posted to  Dr. K. Rama Gopal, Principal Investigator, ISRO-GBP (AT-CTM) Research Project, Department of Physics, S.K. University, Anantapur-515 003”, Andhra Pradesh

- Price quoted in the quotation must be inclusive of GST.

- The Last date for quotation to reach this office on or before                     25-01-2022, 5:00 P.M.

- Instruments should be delivered to the S.K. University within 30   days against the Purchase Order.

- Payment will be made against the delivery of Item.

- Specify the full terms & conditions, mode of payment, warranty period, servicing, installation, transport and other conditions including  taxes if any etc

Note: All firms should enclose GST certificate of Registration forms along with their quotations or other wise quotation is invalid.